SECTION 03 63 00

MasterFlow 678 - Epoxy Grouting (Formerly 678 DP Plus)

Notes to specifiers:

Please update your Master Specifications to reflect the company and product name changes. The old product names are provided in parentheses following the new names in this Section for reference.

The purpose of this guide specification is to assist the specifier in developing a project specification for the use of master buidlers solutions products.  this guide document has been prepared to be part of a complete project manual.  it is not intended to be a “stand alone” document, and it is not intended to be copied directly into a project manual.

This guide specification will need to be carefully reviewed for APPROPRIATENESS for the given project and edited accordingly to comply with project-specific requirements.

GENERAL

SECTION INCLUDES

Epoxy grout.

RELATED REQUIREMENTS

Specifier Notes:  Edit the following list of related sections as necessary.  Limit the list to sections with specific information that the reader might expect to find in this section, but is specified elsewhere.

Section 03 61 00 – Cementitious Grouting.

REFERENCE STANDARDS

Specifier Notes:  List reference standards used elsewhere in this section, complete with designations and titles.

ASTM C 307 – Standard Test Method for Tensile Strength of Chemical-Resistant Mortar, Grouts, and Monolithic Surfacings.

ASTM C 531 – Standard Test Method for Linear Shrinkage and Coefficient of Thermal Expansion of Chemical-Resistant Mortars, Grouts, Monolithic Surfacings, and Polymer Concretes.

ASTM C 579 – Standard Test Methods for Compressive Strength of Chemical-Resistant Mortars, Grouts, Monolithic Surfacings, and Polymer Concretes.

ASTM C 580 – Standard Test Method for Flexural Strength and Modulus of Elasticity of Chemical-Resistant Mortars, Grouts, Monolithic Surfacings, and Polymer Concretes.

ASTM C 827 / C 827M – Standard Test Method for Change in Height at Early Ages of Cylindrical Specimens of Cementitious Mixtures.

ASTM C 953 – Standard Test Method for Time of Setting of Grouts for Preplaced-Aggregate Concrete in the Laboratory.

ASTM C 1181 – Standard Test Methods for Compressive Creep of Chemical-Resistant Polymer Machinery Grouts.

ISO 9001:2008 – Quality Management Systems – Requirements.

PREAPPLICATION MEETINGS

Specifier Notes:  Include a preapplication meeting for critical or large projects.  Edit as necessary.  Delete if not needed.

Convene preapplication meeting [1 week]  [2 weeks] before start of application of epoxy grout.

Require attendance of parties directly affecting work of this section, including Contractor, Architect, Engineer, applicator, and manufacturer’s representative.

Review materials, surface preparation, mixing, placing, curing, protection, and coordination with other work.

SUBMITTALS

Specifier Notes:  Edit submittal requirements as necessary.  Delete submittals not required.

Comply with Section 01 33 00 – Submittal Procedures.

Product Data:  Submit manufacturer’s product data, including surface preparation, mixing, placing, and curing instructions.

Manufacturer’s Certification:  Submit manufacturer’s certification that materials comply with specified requirements and are suitable for intended application.

Manufacturer’s Project References:  Submit manufacturer’s list of successfully completed epoxy grout projects, including project name and location, name of architect or engineer, and type and quantity of epoxy grout furnished.

Applicator’s Project References:  Submit applicator’s list of successfully completed epoxy grout projects, including project name and location, name of architect or engineer, and type and quantity of epoxy grout placed.

QUALITY ASSURANCE

Manufacturer’s Qualifications:

Manufacturer regularly engaged, for past 15 years, in manufacture of epoxy grout of similar type to that specified.

ISO 9001:2008 certified.

Applicator’s Qualifications:

Applicator regularly engaged, for past 5 years, in application of epoxy grout of similar type to that specified.

Employ persons trained for application of epoxy grout.

DELIVERY, STORAGE, AND HANDLING

Delivery Requirements:  Deliver materials to site in manufacturer’s original, unopened containers and packaging, with labels clearly identifying product name and manufacturer.

Storage and Handling Requirements:

Store and handle materials in accordance with manufacturer’s instructions.

Keep materials in manufacturer’s original, unopened containers and packaging until application.

Store materials in clean, dry area indoors at 60 to 80 degrees F (16 to 27 degrees C).

Do not store materials directly on floor.

Protect materials during storage, handling, and application to prevent contamination or damage.

PRODUCTS

MANUFACTURER

    - Subject to compliance with requirements, provide products from the following manufacturer:

Master Builders Solutions

889 Valley Park Drive

Shakopee, MN  55379 USA

Customer Service:  800-433-9517

Technical Service:  800-243-6739

Direct Phone:  952-496-6000

Website: www.master-builders-solutions.com/en-us

    - Substitutions:  Not permitted.

Substitutions:  Not permitted.EPOXY GROUT

Epoxy Grout: “MasterFlow 678”.

Description:  3-component, deep-pour, low-exotherm, multi-use, epoxy grout.

VOC Content:  0 lbs per gal (g/L).

Physical Properties Test Data:

Resin/Hardener Ratio:  2 to 1 by weight.

Density:  125 pcf (2,000 kg/m3).

Working Time, 70 Degrees F (21 Degrees C):  90 min.

Set Time, ASTM C 953:

Initial:  6 hrs.

Final:  7.5 hrs.

Expansion, ASTM C 827:  Passes.

Compressive Strength, 70 Degrees F (21 Degrees C), ASTM C 579 Modified:

1 Day:  6,400 psi (44 MPa).

7 Days:  11,000 psi (76 MPa).

28 Days:  12,000 psi (83 MPa).

Coefficient of Thermal Expansion, ASTM C 531:  20.0 x 10-6 in/in/degree F.

Tensile Strength, ASTM C 307:  1,900 psi (13 MPa).

Flexural Strength, ASTM C 580:  3,900 psi (27 MPa).

Creep, 90 Degrees F (32 Degrees C), 1,200 psi (8.2 MPa), ASTM C 1181:

1 Day:  2.9 x 10-3 in/in/degree F.

28 Days:  2.9 x 10-3 in/in/degree F.

Peak Exotherm, 1,000 g, Adiabatic Conditions:  93 degrees F (34 degrees C).

EXECUTION

EXAMINATION

Examine areas to receive epoxy grout.

Notify Architect of conditions that would adversely affect surface preparation or application.

Do not begin surface preparation or application until unacceptable conditions are corrected.

SURFACE PREPARATION

Prepare surfaces in accordance with manufacturer’s instructions.

MIXING

Mix epoxy grout components in accordance with manufacturer’s instructions.

Precondition epoxy grout components to 70 degrees F (21 degrees C) for minimum of 24 hours before using.

Mix components to avoid air entrainment and heat generation.

Do not alter resin-to-hardener proportions from manufacturer’s instructions.

Do not use damp or wet aggregate.

Do not add solvents, water, or any other material to epoxy grout or grout components.

PLACING

Place epoxy grout in accordance with manufacturer’s instructions at locations indicated on the Drawings.

Placement Thickness:

Minimum:  1 inch (25 mm).

Maximum Lifts Without Reinforcement:  18 inches (457 mm).

Minimum Substrate Temperature:  50 degrees F (10 degrees C).

Ensure epoxy grout fills entire space being grouted.

Discard grout that becomes unworkable.

CURING

Cure epoxy grout in accordance with manufacturer’s instructions.

Do not allow temperatures to fall below 40 degrees F (4 degrees C) while epoxy grout is curing.

PROTECTION

Protect placed epoxy grout from damage during construction.

END OF SECTION

Disclaimer

THIS INFORMATION AND ALL FURTHER TECHNICAL ADVICE ARE BASED ON master builders solutions PRESENT KNOWLEDGE AND EXPERIENCE. HOWEVER, master builders solutions ASSUMES NO LIABILITY FOR PROVIDING SUCH INFORMATION AND ADVICE INCLUDING THE EXTENT TO WHICH SUCH INFORMATION AND ADVICE MAY RELATE TO EXISTING THIRD-PARTY INTELLECTUAL PROPERTY RIGHTS, ESPECIALLY PATENT RIGHTS. IN PARTICULAR, master builders solutions DISCLAIMS ALL CONDITIONS AND WARRANTIES, WHETHER EXPRESS OR IMPLIED, INCLUDING THE IMPLIED WARRANTIES OF FITNESS FOR A PARTICULAR PURPOSE OR MERCHANTABILITY. master builders solutions SHALL NOT BE RESPONSIBLE FOR CONSEQUENTIAL, INDIRECT OR INCIDENTAL DAMAGES (INCLUDING LOSS OF PROFITS) OF ANY KIND. master builders solutions RESERVES THE RIGHT TO MAKE CHANGES ACCORDING TO TECHNoLOGY PROGRESS OR FUrTHER DEVELOPMENTS. IT IS THE CUSTOMERS RESPONSIBILITY AND OBLIGATION TO CAREFULLY INSPECT AND TEST ANY INCOMING GOODS. PERForMANCE OF THE PRODUCT(S) DESCRIBED HEREIN SHOULD BE VERIFIED BY TESTING AND CARRIED OUT ONLY BY QUALIFIED EXPERTS. IT IS THE SOLE RESPONSIBILITY OF THE CUSTOMER TO CARRY OUT AND ARRANGE FOR ANY SUCH TESTING. REFERENCE TO TRADE NAMES USED BY OTHER COMPANIES IS NEITHER A RECOMMENDATION, NOR AN ENDORSeMENT OF ANY PRODUCT AND DOES NOT IMPLY THAT SIMILAR PRODUCT COULD OR COULD NOT BE USED.