SECTION 07 27 26

FLUID APPLIED, VAPOR PERMEABLE, AIR/WATER RESISTIVE BARRIER (MasterSeal® AWB 665)

Notes to specifiers:

Please update your Master Specifications to reflect the company and product name changes. The old product names are provided in parentheses following the new names in this Section for reference.

The purpose of this guide specification is to assist the specifier in developing a project specification for the use of master buidlers solutions products.  this guide document has been prepared to be part of a complete project manual.  it is not intended to be a “stand alone” document, and it is not intended to be copied directly into a project manual.

This guide specification will need to be carefully reviewed for APPROPRIATENESS for the given project and edited accordingly to comply with project-specific requirements.

PART 1 - General

      - General ReQUIREMENTS

        - General Conditions, Supplementary Conditions, Instructions to Bidders and Division One General Requirements shall be read in conjunction with and govern this section.

        - This specification shall be read as a whole by all parties concerned. Each Section may contain more or less than the complete Work of any trade. The Contractor is solely responsible to make clear to the Subcontractors the extent of their Work.

      - SECTION iNCLUDES

        - Ready mixed resilient, fluid applied, vapor permeable, air/water-resistive barrier for use behind most exterior wall claddings. Block Filler  for use on unit masonry (CMU) or other porous concrete substrates prior to application of air/water-resistive barrier.

        - Materials and installation methods to bridge and seal air leakage pathways and gaps including:

          - Connections of walls to foundations

          - Connections of walls to the roof air barrier

          - Seismic and expansion joints

          - Openings and penetrations in the building envelope

          - Masonry ties, screws, bolts and similar penetrations

          - All other leakage pathways through opaque walls

        - Materials and installation methods to create a water-resistive barrier suitable for use as part of a secondary drainage system for brick, natural and manufactured stone veneers, metal composite siding, and most other cladding systems.

        - Refer to all drawings and other sections of this specification to determine the type and extent of work therein affecting the work of this section, whether or not such work is specifically mentioned herein.

      - rELATED SECTIONS

        - Section 03 00 00 Concrete substrate

        - Section 04 00 00 Masonry substrate

        - Section 05 40 00 Cold-formed metal framing

        - Section 06 11 00 Wood framing

        - Section 06 16 00 Sheathing

        - Section 07 62 00 Sheet metal flashing and trim

        - Section 07 65 00 Flexible flashing

        - Section 07 90 00 Joint protection

        - Section 08 00 00 Openings

        - Section 08 50 00 Windows

        - Section 09 22 16 Non-structural metal framing

        - Section 09 29 00 Gypsum board

      - DEFINITIONS

        - Air Barrier Material: A building material that is designed and constructed to provide the primary resistance to airflow through an air barrier assembly.

        - Air Barrier Accessory: A building material that is used to tie air barrier materials together to form an assembly.

        - Air Barrier Assembly: A combination of air barrier materials and accessories that creates an air seal.

        - Air Barrier System: The collection of air barrier assemblies applied to the building enclosure, including roof, foundation, joints and junctions to abutting construction, which controls air movement through the wall.

        - Water-Resistive Barrier Assembly: The collection of water-resistive materials and accessories that direct incidental water that may pass the primary rain screen out of the wall system while providing protection for underlying sheathing materials.

      - rEFERENCES

        - Building Codes:

          - ICC-ES Acceptance Criteria for Water Resistive Coatings used as Water Resistive Barrier Over Exterior Sheathing; ICC-ES AC 212

          - ICC-ES Acceptance Criteria for Flexible Flashing Materials; ICC-ES AC 148, AAMA 711-07

          - Massachusetts Building Code

        - American Society for Testing and Materials (ASTM) Standards

          - C920 Specifications for Elastomeric Joint Sealants

          - C1177 Specification for Glass Mat Gypsum Substrate for Use as Sheathing

          - C1396 Standard Specification for Gypsum Board

          - C1193 Guide for Use of Joint Sealants

          - D412 Standard Test Methods for Rubber Properties in Tension

          - D4258 Practice for Surface Cleaning Concrete for Coating

          - D4263 Test Method for Indicating Moisture in Concrete by the Plastic Sheet Method

          - D4541 Standard Test Method for Pull-Off Strength of Coatings Using Portable Adhesion Testers

          - E84 Test Method for Surface Burning Characteristics of Building Materials

          - E96 Test Methods for Water Vapor Transmission of Materials

          - E283 Test Method for Determining the Rate of Air Leakage through Exterior Windows, Curtain Walls and Doors under Specified Pressure Differences across the Specimen

          - E330 Standard Test Method for the Structural Performance of Exterior Windows, Doors, Skylights and Curtain Walls by Uniform Static Pressure Difference

          - E331 Standard Test Method for Water Penetration of Exterior Windows, Doors, Skylights and Curtain Walls by Uniform Static Air Pressure

          - E1105 Standard Test Method for Field Determination of Water Penetration of Installed Exterior Windows, Doors, Skylights and Curtain Walls by Uniform or Cyclic Static Air Pressure Difference

          - E2178 Standard Test Method for Air Permeance of Building Materials

          - E2357 Standard Test Method for Determining Air Leakage of Air Barrier Assemblies

      - performance requirements

        - General: Air/water-resistive barrier shall be capable of performing as a continuous vapor-permeable air barrier and as a liquid-water drainage plane flashed to discharge to the exterior incidental condensation or water penetration. At wall system transitions, the air/water-resistive barrier shall form a continuous air barrier and shall make provision for water drainage, either by creation of an unobstructed drainage plane that extends across the system transition or by flashing to discharge to the exterior at the transition. Air barrier assemblies shall be capable of accommodating substrate movement and sealing substrate expansion and control joints, construction material changes, and transitions at perimeter conditions without deterioration and air leakage exceeding specified limits, or interruption of the drainage plane.

        - Commonwealth of Massachusetts Building Code Requirements: Comply with the following subsections of 780 CMR 13, Section 1304.3 Air Leakage, 1304.3.1 Air Barriers:

The building envelope shall be designed and constructed with a continuous air barrier to control air leakage into, or out of the conditioned space. An air barrier shall also be provided for interior partitions between conditioned space and space designed to maintain temperature or humidity levels which differ from those in the conditioned space by more than 50% of the difference between the conditioned space and design ambient conditions. The air barrier shall have the following characteristics:

          - It must be continuous, with all joints made airtight.

          - It shall have an air permeability not to exceed 0.02 l/m2 under a pressure differential of 75 Pa (equal to 0.004 cfm/ft2 @ 1.57 psf) when tested in accordance with ASTM E2178.

          - It shall be capable of withstanding positive and negative combined design wind, fan and stack pressures on the envelope without damage or displacement, and shall transfer the load to the structure. It shall not displace adjacent materials under full load.

          - It shall be durable or maintainable.

          - The air barrier shall be joined in an airtight and flexible manner to the air barrier material of adjacent systems, allowing for the relative movement of systems due to thermal and moisture variations and creep. Connection shall be made between:

            - Foundation and walls.

            - Walls and windows or doors.

            - Different wall systems.

            - Wall and roof.

            - Wall and roof over unconditioned space.

            - Walls, floor and roof across construction, control and expansion joints.

            - Walls, floors and roof to utility, pipe and duct penetrations.

          - All penetrations of the air/water-resistive barrier and paths of air infiltration/exfiltration shall be made airtight.

        - Fluid Apllied Membrane Perfromance Requirements

# TEST 									REQUIREMENTS

# Air Leakage of Air Barrier Assemblies                                  Maximum 0.20 l/s.m² @ 75 Pa

# ASTM E 2357								(0.04 cfm/ft2 @ 1.57 psf)

# Air Permeance of Building Materials 			Maximum 0.02 l/s.m2 @ 75 Pa

# ASTM E 2178 								(0.004 cfm/ft2@ 1.57 psf)

# Rate of Air Leakage 						Maximum 0.02 l/s·m2 @ 75 Pa

# ASTM E 283 								(0.004 cfm/ft2 @ 1.57 psf)

# Pull-Off Strength of Coatings 				Minimum 110 kPa (15.9 psi)

# ASTM D 4541 								adhesion or substrate failure

# Surface Burning 							Flame spread <25

# ASTM E 84 									Smoke developed < 450

# Nail Sealability 							No water penetration at galvanized roofing nail

# ASTM D 1970				penetration under 127 mm (5”) head of water after 3 days at  4 °C (40 °F)

# Water Vapor Transmission 				Minimum 10 perms

# ASTM E 96 Method B

# Volatile Organic Compounds (VOC) 			Maximum 50 g/l

# ASTM D 2369

# ICC-ES AC 212 Acceptance Criteria for Water-Resistive Coatings used as Water-Resistive Barriers over Exterior Sheathing

# Sequential Testing - Structural, Racking, Restrained Environmental Conditioning and Water Penetration

# 1. Structural: ASTM E 1233 Procedure A 			No cracking at joints or interface of flashing

# 2. Racking: ASTM E 72 					No cracking at joints or interface of flashing

# 3. Restrained Environmental 				No cracking at joints or interface of flashing

# Conditioning: ICC-ES AC 212

# 4. Water Penetration: ASTM E 331 	No water penetration after Structural, Racking and Restrained Environmental Conditioning [Tested for 15 min @ 137 Pa (2.86 psf)]

# Sequential Testing - Weathering

# 1. UV Light Exposure: ICC-ES AC 212 			No cracking or bond failure to substrate

# 2. Accelerated Aging: ICC-ES AC 212 			No cracking or bond failure to substrate

# 3. Hydrostatic Pressure Test: AATCC 127-1985 	No water penetration after UV exposure and accelerated aging [Tested for 5 hours with 55 cm (21.7 in) of hydrostatic head]

# Freeze-Thaw 								No visible effects (cracking, checking, delamination, erosion) after ASTM E 2485 (Method B)					10 cycles when viewed at 5X magnification

# Water Resistance 							No sign of deleterious effects after 14 day exposure

# ASTM D 2247

# Tensile Bond								>103 kPa (15 psi) avg; no failure of the lamina after 10 cycles

# ASTM C 297

# Tensile Bond (before & after freeze-thaw) 			>103 kPa (15 psi) avg; no failure of the lamina after 10                 ASTM C 297 								cycles freeze-thaw

# ICC-ES AC 148 Acceptance Criteria for Flexible Flashing Materials

# Sequential Testing - Weathering

# 1. UV Light Exposure: ICC-ES AC 148 	No visible surface or structural changes when observed under 5X magnification

# 2. Accelerated Aging: ICC-ES AC 148 	No visible surface or structural changes when observed under 5X magnification

# 3. Hydrostatic Pressure Test: 				No signs of failure after UV and Accelerated Aging

# AATCC 127-1985

# Peel Adhesion 								All samples meet the minimum requirement of .263 N/mm

# ASTM D 3330 Method F		(1.5 lbs/in)

# UV Exposure 					No visible surface or structural changes when observed under 5X magnification

# Accelerated Aging 			No visible surface or structural changes when observed under 5X magnification

# After Elevated Temperature 	No visible surface or structural changes when observed under 5X magnification

# After Water Immersion					No signs of failure after UV and Elevated Temperature Exposure

# Nail Sealability after Thermal Cycling 			No water penetration at galvanized roofing nail penetration under ASTM D 1970 (Modified), AAMA 711 			32 mm (1.25”) head of water after 24 hours at 4 °C (40 °F)

# Tensile Strength after UV Exposure 				All samples meet the minimum requirement of 3.5 N/mm

# ASTM D 5034, AAMA 711				(20  lbs/in)

# Cold Temperature Pliability 				No cracking after bending around a 25 mm (1”) mandrel after 2

# ASTM D 1970, AAMA 711 				hour exposure to -18 °C (0 ° F)

# Resistance to Peeling						No signs of distress or failure after 24 hours of exposure at room AAMA 711									temperature, 50 °C (122 °F), 65 °C (149 °F), 80 °C (176 °F)

      - submittals

        - Submit under provisions of Section [01 33 00]

        - Manufacturer’s technical data sheets and material safety data sheets for products and accessories.

        - Shop drawings showing locations and extent of air/water-resistive barrier system including details of typical conditions, intersection and transitions with other envelope systems and materials.

        - Current ICC Evaluation Services Report evidencing fluid applied material conforms with ICC-ES AC 212 Water Resistive Coatings Used as Water-Resistive Barriers Over Exterior Sheathing.

      - Quality assurance

        - Manufacturer: Minimum 10-years experience in the production and marketing of air/water-resistive barrier materials.

        - Air/water-resistive barrier manufacturer shall provide an ICC-ES Evaluation Report confirming compliance with AC 212 Acceptance Criteria for Water-Resistive Coatings used as Water-Resistive Barriers over Exterior Sheathing.

        - Applicator Qualifications: An applicator experienced in applying air/water-resistive barrier materials similar in material, design and extent to those indicated for this project, whose work has resulted in applications with a record of successful in-service performance.

          - Knowledgeable in the proper use and handling of Master Builders Solutions products.

          - Employ skilled installers who are experienced and knowledgeable in air/water resistive barrier application, and familiar with the requirements of the specified work.

          - Provide the proper equipment, manpower and supervision on the job site to install the system in compliance with Master Builders Solutions published specifications.

        - Regulatory Requirements: Conform to applicable Federal, State, and local codes having jurisdiction for air/water-resistive barriers.

        - Primary materials including fluid-applied air/water-resistive barrier, sheathing fabric, flashing primer, transition membranes and liquid flashings shall be sourced from one manufacturer regularly engaged in production of air/water-resistive barrier materials.

        - Mockups: Before beginning installation of air/water-resistive barrier, provide air/water-resistive barrier work for exterior wall assembly mockups, incorporating backup wall construction, external cladding, window, door frame and sill, insulation, and flashing to demonstrate surface preparation, crack and joint treatment, and sealing of gaps, terminations, and penetrations of air barrier membrane.

          - Coordinate construction of mockup to permit inspection by Owner’s testing agency of air/water-resistive barrier before external insulation and cladding is installed.

          - If Architect determines mockups do not comply with project requirements, reconstruct mockups and apply air/water resistive barrier until mockups are approved.

        - Pre-Installation Conference: A pre-installation conference shall be held prior to commencement of field operations to establish procedures to maintain optimum working conditions and to coordinate this work with related and adjacent work. Pre-installation conference shall include the Architect, General Contractor and Applicator. Agenda for meeting shall include but not be limited to the following:

          - Review of submittals.

          - Review of surface preparation, minimum curing period and installation procedures.

          - Review of special details and flashings.

          - Sequence of construction, responsibilities and schedule for subsequent operations.

          - Review of mock-up requirements.

          - Review of inspection, testing, protection and repair procedures.

        - Coordination of trades

          - The Architect, General Contractor and Applicator shall evaluate adjacent materials such as windows, doors, etc. for conformance to project details. Adjacent trades shall provide scaled shop drawings for review by the Architect.

          - The General Contractor shall make provision for installation of air seals between the primary air barrier and other wall components (penetrations, etc.) in order to maintain continuity of an air barrier system.

      - delivery, storage, and handling

        - Deliver, store, and handle products under provisions of Section [01 65 00] [01 66 00].

        - Deliver all materials in original unopened packages with manufacturer’s labels intact.

        - Protect all materials during transportation and installation to avoid physical damage.

        - Store materials in cool, dry place protected from freezing. Store at no less than 4°C (40°F).

        - Store materials away from direct sunlight and extreme heat.

        - Store all accessory products in a cool, dry place protected from exposure to moisture.

      - project/site conditions

        - Do not apply materials in ambient temperatures below 4 °C (40 °F). Provide properly vented, supplementary heat during installation and drying period when temperatures less than 4 °C (40 °F) prevail or use a Low Temperature Additive specifically designed for the product.

        - Do not apply materials to frozen, frost covered, wet, or contaminated surfaces.

        - Maintain ambient  and substrate temperatures at or above 4 °C (40 °F) during application of all materials and until dry.  Ambient and substrate temperatures must remain at or above  -4 °C (25 °F) if a Low Temperature Additive is used during application of all materials and until dry.

      - warranty

        - Provide the Manufacturer’s minimum 5-year Limited Materials warranty under provisions of Section [01 70 00].

          - Comply with Manufacturer’s applicator registration requirements and notification procedures to assure qualification for warranty.

- PRODUCTS

      - MANUFACTURERs

        - The fluid applied vapor-permeable, air/water-resistive barrier, sheathing fabric, liquid flashing, transition membrane and flashing primer shall be obtained or approved as a single-source from the air/water-resistive barrier manufacturer to ensure system compatibility and integrity.

        - Basis of Design: MasterSeal AWB 665 air/water-resistive barrier manufactured by:

Master Builders Solutions

889 Valley Park Drive

Shakopee, MN  55379 USA

Customer Service:  800-433-9517

Technical Service:  800-243-6739

Direct Phone:  952-496-6000

Website: www.master-builders-solutions.com/en-us

        - Master Builders Solutions products are listed in this specification to establish a standard of quality. Any substitutions to this specification shall be submitted to and receive approval from the Architect at least 10 days before bidding. Proof of equality shall be borne by the submitter. To be considered equal, products must meet or exceed performance requirements shown in Section 1.06.

      - MATERIALS

        - MasterSeal AWB 665 fluid-applied air/water-resistive barrier membrane.

        - MasterSeal AWB 600 FL block filler.

        - MasterSeal AWB 971 FIB reinforced non-woven polyester fabric.

        - MasterSeal AWB 970 FIB polyester-faced 30-mil thick self-sealing, rubberized asphalt transition membrane.

        - MasterSeal AWB 950 P water-based primer.

        - MasterSeal AWB 960 AC low temperature additive.

        - MasterSeal AWB 900 liquid flashing membrane.

      - auxiliary Materials

        - General: Liquid-type auxiliary materials shall comply with VOC limits of authorities having jurisdiction.

        - Flashing: provide flashing that complies with prevailing local building codes.

        - Sealant: MasterSeal NP 150, NP 100, and NP 1 manufactured by Master Builders Solutions. Alternate sealants must meet ASTM C920 criteria and be approved for this application by the sealant manufacturer.

        - Polyurethane Foam Sealant: Approved by polyurethane foam sealant manufacturer for compatibility with air/water-resistive barrier materials.

- EXECUTION

      - EXAMINATION

        - General Contractor shall verify project site conditions under provisions of Section [01 70 00].

        - Walls

          - Substrates

            - Air/water-resistive barrier acceptable substrates: ASTM C1177 type sheathings, including DensGlass™ exterior sheathing, e2XP™ sheathing, GlasRoc® sheathing, Securock™  glass-mat sheathing, Weather Defense™ Platinum sheathing, GreenGlass® sheathing, PermaBase™ cement-board by National Gypsum and other cement-boards (ASTM C1325 Type A Exterior), untreated Exposure I or exterior plywood sheathing (grade C-D or better), untreated Exposure I OSB, Gypsum sheathing (ASTM C79/ASTM C1396), poured concrete/unit masonry, and poured concrete/unit masonry treated with MasterSeal AWB 600 FL. Consult with Master Builders Solutions Technical Services for all other applications.

            - Wall sheathing must be securely fastened per applicable building code and sheathing manufacturer’s requirements.

            - Examine surfaces to receive air/water-resistive barrier and verify that substrate and adjacent materials are dry, clean, sound, and free of releasing agents, paint, or other residue or coatings. Verify substrate is flat, free of fins or planar irregularities greater than 1/4” in 10’ (6.4 mm in 3 m). Verify that no excess mortar exists on masonry ties, shelf angles and other obstructions.

            - Verify that concrete is cured, visibly dry and free of moisture.

            - Verify that masonry joints are struck flush and completely filled with mortar.

            - Verify that walls are capped to prevent moisture and precipitation from entering walls during construction.

          - Flashings

            - All flashings must be installed in accordance with specific design and building code requirements. Where appropriate, end-dams must be provided.

            - Openings must be flashed prior to window/door, HVAC, etc. installation. Windows and openings shall be flashed according to design and building code requirements.

            - Individual windows that are ganged to make multiple units require continuous head flashing and the joints between the units must be fully sealed.

          - Kick-out flashing

            - Kick-out flashing must be installed leak-proof and angled (min 100 °C) to allow for proper drainage and water diversion.

          - Air Seals

            - Install between the primary air/water-resistive barrier and other wall components (penetrations, etc.) in order to maintain continuity of the air barrier system.

        - Report all unsatisfactory conditions to the General Contractor. Application of fluid-applied air/water-resistive barrier shall not proceed until all unsatisfactory conditions have been corrected.

      - preparation

        - Protect all surrounding areas and surfaces from damage and staining during application of air/water-resistive barrier.

        - Protect finished work at end of each day.

      - Mixing

General: No additives are permitted unless specified in product mixing instructions. Close containers when not in use. Prepare in a container that is clean and free of foreign substances. Do not use a container which has contained or been cleaned with a petroleum-based product. Clean tools and equipment with water immediately after use. Dried material can only be removed mechanically.

        - Air/water-resistive barrier

          - MasterSeal AWB 665

            - Mix MasterSeal AWB 665 with a clean, rust-free paddle and drill until thoroughly blended. Do not add water to MasterSeal AWB 665.

          - MasterSeal AWB 600 FL

            - Mix MasterSeal AWB 600 FL with a clean, rust-free paddle and drill until thoroughly blended.  Do not add water to MasterSeal AWB 600 FL.

          - MasterSeal AWB 950 P

            - Mix MasterSeal AWB 950 P for approximately 1-minute, to a uniform consistency. Do not add water to MasterSeal AWB 950 P.

      - application

General: Apply products in accordance with manufacturer’s published application guidelines and in accordance with project requirements. Refer to the  MasterSeal AWB Application Guidelines For Flashing Rough Openings on Concrete and Masonry and the MasterSeal AWB Application Guidelines for Joint Treatment and Flashing Rough Openings on Framed Construction technical bulletins.

        - Air/water-resistive barrier

          - Substrate shall be installed per substrate manufacturer’s guidelines. Substrate shall be dry, clean, sound and free of release agents, paint or other residue or coatings. Verify substrate is flat, free of fins or planar irregularities greater than 6.4 mm in 3 m (1/4” in 10’). Unsatisfactory conditions shall be reported to the general contractor and corrected before application of the air/water-resistive barrier materials.

          - Apply MasterSeal AWB 665 or MasterSeal AWB 900 to fastener heads, sheathing joints, and rough openings as outlined in MasterSeal AWB Application Guidelines for Joint  Treatment and Flashing Rough Openings on Framed Construction technical bulletin and the MasterSeal AWB Application Guidelines for Flashing Rough Openings on Concrete and Masonry Construction technical bulletin.

            - If using MasterSeal AWB 900 liquid flashing for spotting fasteners or details joint seams and flashing rough openings, apply as outlined in the MasterSeal AWB 900 Typical Joint and Fastener Treatment technical bulletin

          - Immediately place and center MasterSeal AWB 971 FIB over wet MasterSeal AWB 665 at seams, rough openings, knot holes and check cracks that may exist in plywood or OSB. Completely saturate MasterSeal AWB 971 FIB with MasterSeal AWB 665.

            - If using roller or brush application, allow to dry to the touch before applying MasterSeal AWB 665 to entire wall surface. If spraying, “wet on wet” application is acceptable.

          - Refer to Spray Equipment Recommendations for Application of MasterSeal AWB technical bulletin for recommended spray equipment.

          - Apply MasterSeal AWB 665 to DensGlassTM exterior sheathing, e2XPTM sheathing, GlasRoc® sheathing, SecurockTM glass-mat sheathing, 	Weather DefenseTM Platinum sheathing, GreenGlass® sheathing, PermaBaseTM cement-board by National Gypsum and other cement-boards (ASTM C1325 Type A Exterior), gypsum sheathing (ASTM C79/ASTM C1396) plywood, OSB, concrete or CMU substrate(s) with a ½” nap roller or spray to a consistent, minimum 12-mil wet film thickness that is free of voids and pin holes.

            - A fully loaded roller pad is required to obtain a consistent, minimum 12-mil wet film thickness.

            - Apply MasterSeal AWB 665 at a minimum of 12-mil wet film thickness on concrete/masonry substrates that have received a fully cured application of MasterSeal AWB 600 FL. For concrete/masonry substrates that have not been treated with MasterSeal AWB 600 FL, two (2) minimum 12-mil applications of MasterSeal AWB 665 are required. Note: Lightweight CMU or other CMU with high porosity may require additional MasterSeal AWB 665 to produce an acceptable result.

            - Apply MasterSeal AWB 665 to plywood and OSB sheathing using a ½” nap roller or spray to a consistent, minimum 12-mil wet film thickness. Visually inspect to determine whether the sheathing surface is fully coated and free of voids and pinholes. Repair as required to produce a continuous coating. Apply a second coat of MasterSeal AWB 665 to produce a total wet film thickness of 24-mils.

            - Visually inspect the MasterSeal AWB 665 for voids, pinholes, surface deficiencies, etc. Repair deficiencies and areas that are not intact. Apply additional MasterSeal AWB 665 as necessary such that MasterSeal AWB 665 is free of voids, pinholes, etc. All sheathing joints, terminations, inside and outside corners must be reinforced with 4” or 9” MasterSeal AWB 971 FIB or MasterSeal AWB 970 FIB or MasterSeal AWB 900.

      - Cleaning and protection

        - Clean and protect completed construction under provisions of Sections [01 74 00] [01 76 00]

        - Applicator shall protect air/water-resistive barrier system from damage during application. General Contractor shall make provision to protect air/water-resistive barrier during the remainder of construction period. Repair any damage that may occur after installation in a manner consistent with the scope and intent of this specification.

        - Clean spills, stains, and soiling from construction that would be exposed in the completed work using cleaning agents and procedures recommended by manufacturer.

          - Clean from finishes immediately with water.

        - Remove masking materials after installation.

END OF SECTION

Disclaimer

THIS INFORMATION AND ALL FURTHER TECHNICAL ADVICE ARE BASED ON master builders solutions PRESENT KNOWLEDGE AND EXPERIENCE. HOWEVER, master builders solutions ASSUMES NO LIABILITY FOR PROVIDING SUCH INFORMATION AND ADVICE INCLUDING THE EXTENT TO WHICH SUCH INFORMATION AND ADVICE MAY RELATE TO EXISTING THIRD-PARTY INTELLECTUAL PROPERTY RIGHTS, ESPECIALLY PATENT RIGHTS. IN PARTICULAR, master builders solutions DISCLAIMS ALL CONDITIONS AND WARRANTIES, WHETHER EXPRESS OR IMPLIED, INCLUDING THE IMPLIED WARRANTIES OF FITNESS FOR A PARTICULAR PURPOSE OR MERCHANTABILITY. master builders solutions SHALL NOT BE RESPONSIBLE FOR CONSEQUENTIAL, INDIRECT OR INCIDENTAL DAMAGES (INCLUDING LOSS OF PROFITS) OF ANY KIND. master builders solutions RESERVES THE RIGHT TO MAKE CHANGES ACCORDING TO TECHNoLOGY PROGRESS OR FUrTHER DEVELOPMENTS. IT IS THE CUSTOMERS RESPONSIBILITY AND OBLIGATION TO CAREFULLY INSPECT AND TEST ANY INCOMING GOODS. PERForMANCE OF THE PRODUCT(S) DESCRIBED HEREIN SHOULD BE VERIFIED BY TESTING AND CARRIED OUT ONLY BY QUALIFIED EXPERTS. IT IS THE SOLE RESPONSIBILITY OF THE CUSTOMER TO CARRY OUT AND ARRANGE FOR ANY SUCH TESTING. REFERENCE TO TRADE NAMES USED BY OTHER COMPANIES IS NEITHER A RECOMMENDATION, NOR AN ENDORSeMENT OF ANY PRODUCT AND DOES NOT IMPLY THAT SIMILAR PRODUCT COULD OR COULD NOT BE USED.